WORKFLOW

ANNOTATIONS: Built-in and custom functions are expressed in Matlab command window coupled with “>>” sign. Workflow notations are consistent with Matlab. ]

- Set matlab working path for the MATCAImage toolbox (One-time only).

  - >>addpath(uigetdir); %Find the downloaded toolbox folder (Not saved)

  - >>savepath(); % stored for future sessions.

- Create you cell_coordinates file (-.mat or –ascii format)

>>cell_centroids()

- Select your reference image path (pop-up).

- Enter the desired image range to extract.

- Visual check the centroids for entered cell sequence.

‡User must select a reference image path that is consistent with other image file names and ends with no numerical parameters. Such as ‘hc_images’ for hc_image1, hc_images2..., etc. is good but not ‘hc_images1’. Also, make sure image folder does not contain any hidden files.

- Load your data.  Here you can apply the sampling rate as well as limits time and cells to be analyzed. Accepted formats are ‘.xls’, ‘.csv’, ‘.mat’, ‘.txt’,’-ascii’. Data will be segmented in row-wise (cell) and column-wise (time). ‘File directory’, ‘format’ and sampling rate are required inputs.  (Add instructions on how to quickly get file directory and format)

>> [newdata]=dataread(sampling rate,’’,’’,’’,’’);

#Locate your data in the pop-up screen.

if you would like to limit your time or cells analyzed use this:

>>[newdata]=dataread(sampling rate, time start, time end, cell start, cell end);

Example:

>>[newdata]=dataread(5,300,400,3,256);

#this will load a 100 sec segment with 254 cells.

‡User must use the time entries in seconds.

- Automated raster, peri-event time histogram and functional cell plotting.

  - Draws the original data

  - Adds a raster plot for used-defined amplitude threshold.

  - Peri-event time histogram with temporal binning.

  - Functional cell imaging on a heatmap.

>>RasterPlot(threshold, sampling rate, time start, time end, cell start, cell

end, bin size, gaussian_order)

    - Locate your Ca2+ data in the pop-up screen.

    - Locate the matching ‘cell_coordinates.mat’ stored in step #2.

Example:

>>RasterPlot(2,5,300,400,3,256,'','');

‡ Required inputs are sampling rate and threshold

#time and cell parameters can be entered as desired.

# bin size can be picked with respect to sampling rate (default is                 1Xsampling rate).

#Gaussian order will determine the degree of smoothing, default is 5.